AIDA – RIKEN to do list

Item									Action

Miscellany

Digital multimeter							TD

100VAC/50Hz soldering iron						TD

40cm M3 tag – M3 tag earth straps					TD

Isolation pulse transformer						Comments?

exchange of timestamp NIM logic signals with other systems

http://www.phillipsscientific.com/pdf/425ds.pdf

http://www.minicircuits.com/pdfs/FTB-1-1+.pdf

68-way Samtec CLP – 68-way Samtec CLP Kapton cable tester		Edinburgh Workshop

one extant, request second

+ extraction tool?

Work lights – LED? Battery operated? Magnetic base? 			Suggestions?

Dental mirrors								TD

AIDA equipment storage solution					Suggestions?

Ortec 433A/533 Dual Sum & Invert

+/- test input polarity

AIDA Support Structure

Aluminized mylar

extant batch is somewhat light transparent

Screw caps for inlet/outlet ports of AIDA detector assembly		PM

Were these included in the original design work?

AIDA detector assembly support jig

AIDA detector assembly 1mm Al plates

4x M3 clear + 4x M3

Detector PCB blanks for grounding, mounting sources etc

Set screw socket M3x12							TD

for adaptor PCB attachments

http://uk.farnell.com/tr-fastenings/m312-hsa2pcs50/set-screw-socket-s-s-a2-m3x12/dp/1419747

Modify Kapton cable path into AIDA detector assembly			PM/IB

Avoid potentially damaging folds, creases, compressions

Use bracket cushions? Use more compressible material for assembly seal?

Ship new lower support stand assembly for F12				TD

Currently being assembled in Edinburgh workshop, will be shipped in  June

Modify/re-design RISING support stand for F11				PM/IB

Spare Ti mounting rods/DSSSD enclosure				PM

Electrical Power

200VAC/50Hz/3ph – 400VAC/50Hz/3ph transformer side panels		Edinburgh workshop

PM has produced drawings

Isolation transformer and/or 100VAC/50Hz/1ph mains filter		PM/JC

From 100VAC/50Hz/1ph

to 100VAC/50Hz/1ph or 230VAC/50Hz/1ph, 3kVA plus

JC has requested quotations from three companies

Heavy duty (30A) NEMA ac mains extender				Suggestions?

FEE

?									PCS

Software

Stat spectrum fix							VFEP

done

Minor big fixes requested						VFEP

MIDASsort GREAT unpack 						VFEP

Online/offline analysis

Continue development of AIDA online analysis				AEV/CG

Integrate analysis of BigRIPS PID + AIDA + BELEN				AEV

DAQ

Test AIDA with LUPO							HB/TD?

Integration of BELEN DAQ						?

MBS? Sampling ADCs?

Other

Obtain remote access to aidas1