AIDA ASIC preamplifier output questions
Extracted from ASIC spec version 1.3

Analogue outputs

Each channel will have two dedicated analogue outputs: one for the high-energy range, one for the low/intermediate energy range. These outputs are intended for high-speed digitisation , bypassing the peak-hold/mux stages. It will be possible to resolve closely separated pulses on a single channel, where the separation might be too small for the peak-hold. 

These outputs will have high-speed buffers (~10ns rise-time) in order to retain information about the pulse shapes and timing. There will be a reference voltage output, which will track any drift in these outputs. The reference voltage will be suitable for an external diff-amp or differential ADC. The voltage range will be roughly 1.3V to 2.6V for full dynamic range (assuming 3.3V power supply).

There will also be an analogue output from the multiplexer, again with a reference voltage. The bandwidth will be smaller (~50ns rise time), to minimise output noise.

If this output could drive the ADC directly there would be a a saving of 350mW per channel. ( 46W per FEE module )
Extracted from the AD9252 ADC data sheet.

THEORY OF OPERATION 
The AD9252 architecture consists of a pipelined ADC divided into three sections: a 4-bit first stage followed by eight 1.5-bit stages and a 3-bit flash. Each stage provides sufficient overlap to correct for flash errors in the preceding stage. The quantized outputs from each stage are combined into a final 14-bit result in the digital correction logic. The pipelined architecture permits the first stage to operate with a new input sample while the remaining stages operate with preceding samples. Sampling occurs on the rising edge of the clock. 

Each stage of the pipeline, excluding the last, consists of a low resolution flash ADC connected to a switched-capacitor DAC and an interstage residue amplifier (for example, a multiplying digital-to-analog converter (MDAC)). The residue amplifier magnifies the difference between the reconstructed DAC output and the flash input for the next stage in the pipeline. One bit of redundancy is used in each stage to facilitate digital correction of flash errors. The last stage simply consists of a flash ADC. 

The output staging block aligns the data, corrects errors, and passes the data to the output buffers. The data is then serialized and aligned to the frame and data clocks. 

ANALOG INPUT CONSIDERATIONS 
The analog input to the AD9252 is a differential switched-capacitor circuit designed for processing differential input signals. This circuit can support a wide common-mode range while maintaining excellent performance. An input common-mode voltage of midsupply minimizes signal-dependent errors and provides optimum performance. 

[image: image1.emf]
The clock signal alternately switches the input circuit between sample mode and hold mode (see Figure 33). When the input circuit is switched into sample mode, the signal source must be capable of charging the sample capacitors and settling within one-half of a clock cycle. A small resistor in series with each input can help reduce the peak transient current injected from the output stage of the driving source. In addition, low-Q inductors or ferrite beads can be placed on each leg of the input to reduce high differential capacitance at the analog inputs and therefore achieve the maximum bandwidth of the ADC. Such use of low-Q inductors or ferrite beads is required when driving the converter front end at high IF frequencies. Either a shunt capacitor or two single-ended capacitors can be placed on the inputs to provide a matching passive network. This ultimately creates a low-pass filter at the input to limit unwanted broadband noise. See the AN-742 Application Note, Frequency Domain Response of Switched-Capacitor ADCs; the AN-827 Application Note, A Resonant Approach to Interfacing Amplifiers to Switched-Capacitor ADCs; and the Analog Dialogue article “Transformer-Coupled Front-End for Wideband A/D Converters” (Volume 39, April 2005) for more information. In general, the precise values depend on the application. 
The analog inputs of the AD9252 are not internally dc-biased. Therefore, in ac-coupled applications, the user must provide this bias externally. Setting the device so that VCM = AVDD/2 is recommended for optimum performance, but the device can function over a wider range with reasonable performance, as shown in Figure 34 and Figure 35. 

[image: image2.emf]
[image: image3.emf]
For best dynamic performance, the source impedances driving VIN + x and VIN − x should be matched such that common-mode settling errors are symmetrical. These errors are reduced by the common-mode rejection of the ADC. An internal reference buffer creates the positive and negative reference voltages, REFT and REFB, respectively, that define the span of the ADC core. The output common mode of the reference buffer is set to midsupply, and the REFT and REFB voltages and span are defined as 

REFT = 1/2 (AVDD + VREF) REFB = 1/2 (AVDD − VREF) Span = 2 × (REFT − REFB) = 2 × VREF 
It can be seen from these equations that the REFT and REFB voltages are symmetrical about the midsupply voltage and, by definition, the input span is twice the value of the VREF voltage. 

Maximum SNR performance is achieved by setting the ADC to the largest span in a differential configuration. In the case of the AD9252, the largest input span available is 2 V p-p. 

[image: image4.emf]
External Reference Operation 
The use of an external reference may be necessary to enhance the gain accuracy of the ADC or improve thermal drift charac-teristics. Figure 54 shows the typical drift characteristics of the internal reference in 1 V mode. 

When the SENSE pin is tied to AVDD, the internal reference is disabled, allowing the use of an external reference. The external reference is loaded with an equivalent 6 kΩ load. An internal reference buffer generates the positive and negative full-scale references, REFT and REFB, for the ADC core. Therefore, the external reference must be limited to a nominal voltage of 1.0 V. 

